| Written by: CM | Date: OCT 10, 2025 | Sign: |
| --- | --- | --- |
| Approved by: | Date: | Sign: |

- Asked by:	Riello Canada Inc.

- Objective:	 Partial Assembly of OEM burner code gas train

- Model: OEM RX 400 (20226318) > Gas train (20075769)

- Operational phases: Gas Train Assembly

Factory Assemble Section A

- With multiple gas trains on an order, ensure total length of each is the same. They will need to connect to the same gas header.

- Cable comes with valve pos. #3

- Do not wire switch pos. 4, this is completed in the field.

Ship Section B Items Loose